## Sheet1
MINISCAN SOLAR LINES
| FULLSCANS | [18 empty] | All 13/09/2018 |  | Reduced list 2/10/18
|  | Channel | MTP010 COP row | MTP021 COP Row | MTP Number
|  | SO | 107 | 31 (fixed=3) | 3 | 7 | 12 | 19 | 22 | 34 | 49 | 59 | 75
|  | LNO | 57 | 34 (fixed=3) | 3 | 7 | 12 | 19 | 22 | 23 | 26 | 34 | 39 | 49 | 55 | 64 | 75
FOV LINESCANS
|  | Channel | MTP010 COP Row | MTP021 COP Row | MTP Number
|  | SO 6X164 | 3973 | 2915 (fixed=1) | 5 | 10 | 20 | 25 | 35 | 40 | 48 | 50 | 51 | 62
|  | LNO 6x164 | 674 | 3665 (fixed=1) | 15 | 30 | 44 | 58
N.B. LNO not measuring same order before MTP021 - no suitable COP row available
| MINISCANS | 1kHz | Bold = old best orders |  | Red = 2021 update best orders
NEW LIST 2021 CALIBRATION GSFC
| SO |  |  |  | MTP Number | [5 empty] | LNO |  |  |  | MTP Number
| Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4 |  | Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4 | WAVENUMBER | SO ORDER | WAVENUMBER | SO ORDER | WAVENUMBER | SO ORDER
1 | 105 | N/A | 295 | 54 | [6 empty] | 105 | N/A | 328 | 101 | [5 empty] | 2376.28 | 105 |  |  | 2927.1 | 129
1 | 107 | N/A | 296 | 55 | [6 empty] | 107 | N/A | 329 | 102 | [5 empty] | 2419.05 | 107 |  |  | 3172.9 | 141
1 | 120 | N/A | 297 | 56 | [6 empty] | 120 | N/A | 330 | 103 | [5 empty] | 2715.49 | 120 |  |  | 3289.6 | 146
1 | 126 | N/A | 298 | 57 | 11 | 65 | 65 | 65 |  |  | 126 | N/A | 331 | 104 | 11 |  |  |  |  | 2837.83 | 126 | 2837.83 | 126 | 3750.1 | 166
1 | 130 | N/A | 299 | 58 | 54 | [5 empty] | 130 | N/A | 332 | 105 | [5 empty] | 2940.03 | 130 |  |  | 3787.9 | 168
1 | 134 | N/A | 300 | 59 | 54 | [5 empty] | 134 | N/A | 333 | 106 | [5 empty] | 3014.97 | 134 |  |  | 4276.1 | 189
1 | 141 | N/A | 301 | 60 | 11 | 65 |  |  |  |  | 141 | N/A | 334 | 107 | 11 |  |  |  |  | 3172.86 | 141 | 3172.86 | 141 | 4383.5 | 194
1 | 142 | N/A | 302 | 61 | 54 | [5 empty] | 142 | N/A | 335 | 108 | [5 empty] | 3209.44 | 142 |  |  | 4448.5 | 197
1 | 146 | N/A | 303 | 62 | 11 | [5 empty] | 146 | N/A | 336 | 109 | 11 |  |  |  |  | 3289.57 | 146 | 3289.57 | 146
1 | 151 | N/A | 304 | 63 | 54 | [5 empty] | 151 | N/A | 337 | 110 | [5 empty] | 3414.35 | 151 | <- add to high priority
1 | 156 | N/A | 305 | 64 | 67 | [5 empty] | 156 | N/A | 338 | 111 | [5 empty] | 3520.43 | 156
1 | 162 | N/A | 306 | 65 | 11 | [5 empty] | 162 | N/A | 339 | 112 | 11 |  |  |  |  | 3650.93 | 162 | 3650.93 | 162
1 | 164 | N/A | 307 | 66 | 50 | [5 empty] | 164 | N/A | 340 | 113 | 56 |  |  |  |  | 3693.76 | 164
1 | 166 | N/A | 308 | 67 | 50 | 65 |  |  |  |  | 166 | N/A | 341 | 114 | 56 |  |  |  |  | 3752.1 | 166
1 | 167 | N/A | 309 | 68 | 50 | [5 empty] | 167 | N/A | 342 | 115 | 56 |  |  |  |  | 3766.97 | 167
1 | 168 | N/A | 310 | 69 | 50 | [5 empty] | 168 | N/A | 343 | 116 | 56 |  |  |  |  | 3784.4 | 168
1 | 169 | N/A | 311 | 70 | 49 | [5 empty] | 169 | N/A | 344 | 117 | 61 |  |  |  |  | 3787.87
1 | 171 | N/A | 312 | 71 | 58 | [5 empty] | 171 | N/A | 345 | 118 | 61 |  |  |  |  | 3812.53 | 169
1 | 172 | N/A | 313 | 72 | 58 | [5 empty] | 172 | N/A | 346 | 119 | [5 empty] | 3866.75 | 171
1 | 178 | N/A | 314 | 73 | 61 | [5 empty] | 178 | N/A | 347 | 120 | [5 empty] | 3899.11 | 172
1 | 180 | N/A | 315 | 74 | 61 | 64 |  |  |  |  | 180 | N/A | 348 | 121 | [5 empty] | 4021.33 | 178
1 | 182 | N/A | 316 | 75 | 64 | [5 empty] | 182 | N/A | 349 | 122 | [5 empty] | 4069.49 | 180
1 | 188 | N/A | 317 | 76 | 45 | 49 | 64 |  |  |  | 188 | N/A | 350 | 123 | [5 empty] | 4101.55 | 182
1 | 191 | N/A | 318 | 77 | 43 | 49 | 64 |  |  |  | 191 | N/A | 351 | 124 | 43 |  |  |  |  | 4242.13 | 188
1 | 194 | N/A | 319 | 78 | 13 | 43 | 49 |  |  |  | 194 | N/A | 352 | 125 | 13 | 43 |  |  |  | 4319.49 | 191
1 | 196 | N/A | 320 | 79 | 67 | [5 empty] | 196 | N/A | 353 | 126 | [5 empty] | 4383.21 | 194 | 4383.21 | 194
1 | 197 | N/A | 321 | 80 | 65 | [5 empty] | 197 | N/A | 354 | 127 | [5 empty] | 4410.74 | 196
1 | 199 | N/A | 322 | 81 | [6 empty] | 199 | N/A | 355 | 128 | [5 empty] | 4435.82 | 197
1 | 201 | N/A | 323 | 82 | [6 empty] | 201 | N/A | 356 | 129 | [5 empty] | 4448.52
1 | 210 | N/A | 324 | 83 | [6 empty] | 210 | N/A | 357 | 130 | [5 empty] | 4491.71 | 199
[20 empty] | 4526.98 | 201
| MINISCANS | 2kHz
BOLD BOX = GOOD LINES WITHIN 2 ORDERS OF EACH OTHER
| SO |  |  |  | MTP Number | [5 empty] | LNO |  |  |  | MTP Number
| Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4 |  | Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4
2 | 119 | 310 | 332 | 87 | 4 | [5 empty] | 119 | 343 | 365 | 134 | 6
2 | 122 | 312 | 333 | 88 | [6 empty] | 122 | 345 | 366 | 135
2 | 125 | 314 | 334 | 89 | 8 | 9 |  |  |  |  | 125 | 347 | 367 | 136 | 8 | 9
2 | 128 | 316 | 335 | 90 | [6 empty] | 128 | 349 | 368 | 137
2 | 131 | 318 | 336 | 91 | [6 empty] | 131 | 351 | 369 | 138
2 | 134 | 320 | 337 | 92 | 6 | [5 empty] | 134 | 353 | 370 | 139 | 6
2 | 137 | 322 | 338 | 93 | [6 empty] | 137 | 355 | 371 | 140
2 | 140 | 324 | 339 | 94 | 7 | 9 |  |  |  |  | 140 | 357 | 372 | 141 | 7 | 9
2 | 143 | 326 | 340 | 95 | [6 empty] | 143 | 359 | 373 | 142
2 | 146 | 328 | 341 | 96 | 8 | 9 |  |  |  |  | 146 | 361 | 374 | 143 | 8 | 9
2 | 149 | 330 | 342 | 97 | [6 empty] | 149 | 363 | 375 | 144
2 | 152 | 332 | 343 | 98 | [6 empty] | 152 | 365 | 376 | 145
2 | 155 | 334 | 344 | 99 | [6 empty] | 155 | 367 | 377 | 146
2 | 158 | 336 | 345 | 100 | [6 empty] | 158 | 369 | 378 | 147
2 | 161 | 338 | 346 | 101 | 8 | 9 |  |  |  |  | 161 | 371 | 379 | 148 | 8 | 9
2 | 164 | 340 | 347 | 102 | 6 | 7 |  |  |  |  | 164 | 373 | 380 | 149 | 6 | 7
2 | 167 | 342 | 348 | 103 | 4 | [5 empty] | 167 | 375 | 381 | 150 | 6
2 | 170 | 344 | 349 | 104 | [6 empty] | 170 | 377 | 382 | 151
2 | 173 | 346 | 350 | 105 | [6 empty] | 173 | 379 | 383 | 152
2 | 176 | 348 | 351 | 106 | [6 empty] | 176 | 381 | 384 | 153
2 | 179 | 350 | 352 | 107 | [6 empty] | 179 | 383 | 385 | 154
2 | 182 | 352 | 353 | 108 | [6 empty] | 182 | 385 | 386 | 155
2 | 185 | 354 | 354 | 109 | 6 | [5 empty] | 185 | 387 | 387 | 156 | 6
2 | 188 | 356 | 355 | 110 | 4 | 45 |  |  |  |  | 188 | 389 | 388 | 157 | 6
2 | 191 | 358 | 356 | 111 | [6 empty] | 191 | 391 | 389 | 158
2 | 194 | 360 | 357 | 112 | 8 | [5 empty] | 194 | 393 | 390 | 159 | 8
2 | 197 | 362 | 358 | 113 | [6 empty] | 197 | 395 | 391 | 160
2 | 200 | 364 | 359 | 114 | [6 empty] | 200 | 397 | 392 | 161
2 | 203 | 366 | 360 | 115 | [6 empty] | 203 | 399 | 393 | 162
| MINISCANS | 4kHz |  | 64 accumulations
| SO |  |  |  | MTP Number | [5 empty] | LNO |  |  |  | MTP Number
| Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4 |  | Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4
4 | 119 | 386 | 370 | 189 | RUN SOME LOW ORDERS | [5 empty] | 119 | 419 | 403 | 236
4 | 122 | 388 | 371 | 190 | 9 | 80 |  |  |  |  | 122 | 421 | 404 | 237 | 9
4 | 125 | 390 | 372 | 191 | 7 | 57 | 80 |  |  |  | 125 | 423 | 405 | 238 | 7
4 | 128 | 392 | 373 | 192 | 57 | 81 |  |  |  |  | 128 | 425 | 406 | 239 | 60
4 | 131 | 394 | 374 | 193 | 81 | [5 empty] | 131 | 427 | 407 | 240
4 | 134 | 396 | 375 | 194 | [6 empty] | 134 | 429 | 408 | 241
4 | 137 | 398 | 376 | 195 | 9 | 82 |  |  |  |  | 137 | 431 | 409 | 242 | 9
4 | 140 | 400 | 377 | 196 | 7 | 15 | 82 |  |  |  | 140 | 433 | 410 | 243 | 7 | 15
4 | 143 | 402 | 378 | 197 | 82 | [5 empty] | 143 | 435 | 411 | 244 | 39
4 | 146 | 404 | 379 | 198 | 8 | 21 | 82 |  |  |  | 146 | 437 | 412 | 245 | 8
4 | 149 | 406 | 380 | 199 | 23 | [5 empty] | 149 | 439 | 413 | 246 | 60
4 | 152 | 408 | 381 | 200 | [6 empty] | 152 | 441 | 414 | 247 | 60
4 | 155 | 410 | 382 | 201 | [6 empty] | 155 | 443 | 415 | 248 | 60
4 | 158 | 412 | 383 | 202 | 9 | [5 empty] | 158 | 445 | 416 | 249 | 9
4 | 161 | 414 | 384 | 203 | 8 | 21 |  |  |  |  | 161 | 447 | 417 | 250 | 8 | 85
4 | 164 | 416 | 385 | 204 | 47 | [5 empty] | 164 | 449 | 418 | 251 | 55 | 85
4 | 167 | 418 | 386 | 205 | 7 | 47 |  |  |  |  | 167 | 451 | 419 | 252 | 7
4 | 170 | 420 | 387 | 206 | 8 | 57 |  |  |  |  | 170 | 453 | 420 | 253 | 8
4 | 173 | 422 | 388 | 207 | 27 | 57 |  |  |  |  | 173 | 455 | 421 | 254 | 39
4 | 176 | 424 | 389 | 208 | 27 | [5 empty] | 176 | 457 | 422 | 255 | 55
4 | 179 | 426 | 390 | 209 | 27 | [5 empty] | 179 | 459 | 423 | 256 | 55
4 | 182 | 428 | 391 | 210 | 27 | [5 empty] | 182 | 461 | 424 | 257 | 55
4 | 185 | 430 | 392 | 211 | 38 | [5 empty] | 185 | 463 | 425 | 258 | 38
4 | 188 | 432 | 393 | 212 | 38 | 47 | 62 | 78 |  |  | 188 | 465 | 426 | 259 | 38 | 84
4 | 191 | 434 | 394 | 213 | 9 | 47 | 62 | 78 |  |  | 191 | 467 | 427 | 260 | 9 | 84
4 | 194 | 436 | 395 | 214 | 7 | 13 | 78 |  |  |  | 194 | 469 | 428 | 261 | 7 | 13
4 | 197 | 438 | 396 | 215 | 8 | 78 |  |  |  |  | 197 | 471 | 429 | 262 | 8
4 | 200 | 440 | 397 | 216 | [6 empty] | 200 | 473 | 430 | 263
4 | 203 | 442 | 398 | 217 | [6 empty] | 203 | 475 | 431 | 264
| MINISCANS | 8kHz
| SO |  |  |  | MTP Number | [5 empty] | LNO |  |  |  | MTP Number
| Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4 |  | Starting Order | COP Row | MTP010 COP row | MTP021 COP Row | First Run | Repeat1 | Repeat2 | Repeat3 | Repeat4
8 | 110 | N/A | 402 | 220 | RUN SOME LOW ORDERS | [5 empty] | 110 | N/A | 435 | 267
8 | 116 | N/A | 403 | 221 | [6 empty] | 116 | N/A | 436 | 268 | 52
8 | 122 | N/A | 404 | 222 | 10 | 12 | 37 | 76 |  |  | 122 | N/A | 437 | 269 | 11 | 16 | 52
8 | 128 | N/A | 405 | 223 | 14 | 32 | 52 | 76 |  |  | 128 | N/A | 438 | 270 | 17 | 33 | 52
8 | 134 | N/A | 406 | 224 | 14 | 32 | 52 | 76 |  |  | 134 | N/A | 439 | 271 | 17 | 37 | 52
8 | 140 | N/A | 407 | 225 | 10 | 12 | 53 | 76 |  |  | 140 | N/A | 440 | 272 | 11 | 16 | 52
8 | 146 | N/A | 408 | 226 | 14 | 23 | 53 | 76 |  |  | 146 | N/A | 441 | 273 | 17 | 29 | 52
8 | 152 | N/A | 409 | 227 | 14 | 33 | 51 | 76 |  |  | 152 | N/A | 442 | 274 | 17 | 29 | 53
8 | 158 | N/A | 410 | 228 | 10 | 12 | 51 |  |  |  | 158 | N/A | 443 | 275 | 11 | 29 | 53
8 | 164 | N/A | 411 | 229 | 18 | 28 | 51 | 66 |  |  | 164 | N/A | 444 | 276 | 14 | 29 | 53
8 | 170 | N/A | 412 | 230 | 18 | 28 | 51 | 66 |  |  | 170 | N/A | 445 | 277 | 14 | 31 | 53
8 | 176 | N/A | 413 | 231 | 18 | 28 | 41 | 59 |  |  | 176 | N/A | 446 | 278 | 19 | 31 | 41
8 | 182 | N/A | 414 | 232 | 18 | 28 | 42 | 59 |  |  | 182 | N/A | 447 | 279 | 19 | 31 | 42
8 | 188 | N/A | 415 | 233 | 33 | 37 | 41 | 59 | 75 |  | 188 | N/A | 448 | 280 | 33 | 37 | 41
8 | 194 | N/A | 416 | 234 | 10 | 12 | 42 | 59 | 75 |  | 194 | N/A | 449 | 281 | 11 | 31 | 42
8 | 200 | N/A | 417 | 235 | [6 empty] | 200 | N/A | 450 | 282
8 | 206 | N/A | 418 | 236 | [6 empty] | 206 | N/A | 451 | 283
| SO miniscan | B | E | [7 empty] | LNO | L | O
| Enter row numbers | [9 empty] | Enter row numbers
| 125 | [9 empty] | 127
| 126 | [9 empty] | 128
| Text | [9 empty] | Text
| 3,1,223,224,0,-1,NONE,NONE,SO MINISCAN 8KHZ STARTING ORDER 128 & 134 | [9 empty] | 3,1,272,273,1,-1,NONE,NONE,LNO MINISCAN 8KHZ STARTING ORDER 140 & 146